{"text_format":"3","workbook":"xlsx","n_sheets":4,"sheets":["第1季度","Sheet1","Sheet3","Sheet2"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"第1季度","index":0,"n_rows":34,"n_cols":59,"rows_kept":34,"merged":[[0,0,0,13],[0,14,0,27],[0,28,0,47],[0,48,0,58]]}
["2024年第1季度饮用水水质信息公示表"]
["水样采集地点","供水工程","水样\n类型","是否达标","色度（铂钴色度单位）","标准要求","浑浊度（NTU-散射浊度单位）","标准要求","嗅和味","标准要求","肉眼可见物","标准要求","pH","标准要求","总硬度(以CaCO3计，mg/L）","标准要求","溶解性总固体（mg/L）","标准要求","水样采集地点","硫酸盐（mg/L）","标准要求","氯化物（mg/L）","标准要求","氟化物（mg/L）","标准要求","氰化物（mg/L）","标准要求","硝酸盐氮（以N计，mg/L）","标准要求","氨氮（mg/L）","标准要求","铝（mg/L）","标准要求","铁（mg/L）","标准要求","水样采集地点","锰（mg/L）","标准要求","铜（mg/L）","标准要求","锌（mg/L）","标准要求","砷（mg/L）","标准要求","汞（mg/L）","标准要求","镉（mg/L）","标准要求","铬（六价，mg/L）","标准要求","铅（mg/L）","标准要求","水样采集地点","耗氧量（CODMn法，以O2计，mg/L）","标准要求","菌落总数（CFU/mL）","标准要求","总大肠菌群（MPN/100mL或CFU/100mL）","标准要求"]
["疾控中心","磴口县清泉自来水公司","末梢水","是","5","≤15","0.87","≤1","无","无异臭、异味","无","无",7.6,"6.5-8.5",216,"≤450",785.65,"≤1000","疾控中心",244,"≤250",153,"≤250","0.87","≤1.0","＜0.0005","≤0.05","＜0.15","≤10","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","疾控中心","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.009 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","＜0.0025","≤0.01","疾控中心","0.43","≤3","18","≤100","＜1","不得检出"]
["水泵厂王建国家","磴口县清泉自来水公司","末梢水","是","5","≤15","0.98","≤1","无","无异臭、异味","无","无",7.6,"6.5-8.5",290,"≤450",698.68,"≤1000","水泵厂王建国家",172,"≤250",102,"≤250","0.60","≤1.0","＜0.0005","≤0.05","2.63","≤10","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","水泵厂王建国家","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.003 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","0.0037","≤0.01","水泵厂王建国家","0.19","≤3","22","≤100","＜1","不得检出"]
["金穗二期门房","磴口县丰华供水公司","末梢水","是","5","≤15","0.68","≤1","无","无异臭、异味","无","无",7.9,"6.5-8.5",268,"≤450",825.25,"≤1000","金穗二期门房",211,"≤250",173,"≤250","0.95","≤1.0","＜0.0005","≤0.05","2.51","≤10","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","金穗二期门房","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.003 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","0.0028","≤0.01","金穗二期门房","＜0.05","≤3","36","≤100","＜1","不得检出"]
["南粮台四社马生川","南粮台供水站","末梢水","是","5","≤15","0.68","≤3","无","无异臭、异味","无","无",8.2,"6.5-8.5",137,"≤450",523.65,"≤1000","巴镇南粮台4社马生川",190,"≤250",110,"≤250","0.68","≤1.2","＜0.0005","≤0.05","3.34","≤20","0.25","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","巴镇南粮台4社马生川","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.006 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","＜0.0025","≤0.01","巴镇南粮台4社马生川","0.16","≤3","41","≤500","＜1","不得检出"]
["巴镇永进七社王有生","巴镇永进七八社供水站","末梢水","是","5","≤15","1.02","≤3","无","无异臭、异味","无","无",8.4,"6.5-8.5",140,"≤450",568.46,"≤1000","巴镇永进七社王有生",199,"≤250",114,"≤250","0.74","≤1.2","＜0.0005","≤0.05","0.62","≤20","＜0.02","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","巴镇永进七社王有生","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0",0.001407,"≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","＜0.0025","≤0.01","巴镇永进七社王有生","0.51","≤3","46","≤500","＜1","不得检出"]
["巴镇沙拉毛道马奇","沙拉毛道供水站","末梢水","是","5","≤15","1.09","≤3","无","无异臭、异味","无","无",8.3,"6.5-8.5",139,"≤450",520.52,"≤1000","巴镇沙拉毛道马奇",199,"≤250",115,"≤250","0.63","≤1.2","＜0.0005","≤0.05","3.32","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","巴镇沙拉毛道马奇","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.007 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","＜0.0025","≤0.01","巴镇沙拉毛道马奇","0.18","≤3","34","≤500","＜1","不得检出"]
["渡口永胜村齐继文","渡口永胜供水站","末梢水","是","5","≤15","1.08","≤3","无","无异臭、异味","无","无",8.3,"6.5-8.5",139,"≤450",516.54,"≤1000","渡口永胜村齐继文",168,"≤250",99,"≤250","0.49","≤1.2","＜0.0005","≤0.05","2.81","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","渡口永胜村齐继文","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.006 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","＜0.0025","≤0.01","渡口永胜村齐继文","0.22","≤3","51","≤500","＜1","不得检出"]
["渡口镇南尖子村陈明生","渡口镇南尖子供水站","末梢水","是","5","≤15","1.12","≤3","无","无异臭、异味","无","无",8.3,"6.5-8.5",138,"≤450",489.62,"≤1000","渡口镇南尖子村陈明生",170,"≤250",99,"≤250","0.62","≤1.2","＜0.0005","≤0.05","2.78","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","渡口镇南尖子村陈明生","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.006 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","＜0.0025","≤0.01","渡口镇南尖子村陈明生","0.46","≤3",56,"≤500","＜1","不得检出"]
["补隆团结村李静","补隆-协成供水站","末梢水","是","5","≤15","1.02","≤3","无","无异臭、异味","无","无",8.4,"6.5-8.5",138,"≤450",511.68,"≤1000","补隆团结村李静",200,"≤250",117,"≤250","0.65","≤1.2","＜0.0005","≤0.05","3.04","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","补隆团结村李静","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.006 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","＜0.0025","≤0.01","补隆团结村李静","0.29","≤3","58","≤500","＜1","不得检出"]
["补隆友谊村七社赵军","补隆友谊七社供水站","末梢水","是","5","≤15","1.09","≤3","无","无异臭、异味","无","无",8.4,"6.5-8.5",137,"≤450",507.14,"≤1000","补隆友谊村七社赵军",198,"≤250",116,"≤250","0.72","≤1.2","＜0.0005","≤0.05","6.05","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","补隆友谊村七社赵军","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.008 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","＜0.0025","≤0.01","补隆友谊村七社赵军","0.16","≤3","47","≤500","＜1","不得检出"]
["隆盛合镇塔布村盛红喜","隆盛合镇供水站","末梢水","是","5","≤15","1.07","≤3","无","无异臭、异味","无","无","8.3","6.5-8.5",137,"≤450",458.65,"≤1000","隆盛合镇塔布村盛红喜",167,"≤250",98,"≤250","0.57","≤1.2","＜0.0005","≤0.05","<0.15","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","隆盛合镇塔布村盛红喜","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.006 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","0.0025","≤0.01","隆盛合镇塔布村盛红喜","0.26","≤3","41","≤500","＜1","不得检出"]
["沙金前进3社李奇","巴音乌拉供水站","末梢水","是","5","≤15","0.81","≤3","无","无异臭、异味","无","无","7.4","6.5-8.5","176","≤450",499.65,"≤1000","沙金前进3社李奇",169,"≤250",98,"≤250","0.66","≤1.2","＜0.0005","≤0.05","<0.15","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","沙金前进3社李奇","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.008 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","0.0033","≤0.01","沙金前进3社李奇","0.27","≤3","53","≤500","＜1","不得检出"]
["水样采集地点","供水工程","水样\n类型","是否达标","色度（铂钴色度单位）","标准要求","浑浊度（NTU-散射浊度单位）","标准要求","嗅和味","标准要求","肉眼可见物","标准要求","pH","标准要求","总硬度(以CaCO3计，mg/L）","标准要求","溶解性总固体（mg/L）","标准要求","水样采集地点","硫酸盐（mg/L）","标准要求","氯化物（mg/L）","标准要求","氟化物（mg/L）","标准要求","氰化物（mg/L）","标准要求","硝酸盐氮（以N计，mg/L）","标准要求","氨氮（mg/L）","标准要求","铝（mg/L）","标准要求","铁（mg/L）","标准要求","水样采集地点","锰（mg/L）","标准要求","铜（mg/L）","标准要求","锌（mg/L）","标准要求","砷（mg/L）","标准要求","汞（mg/L）","标准要求","镉（mg/L）","标准要求","铬（六价，mg/L）","标准要求","铅（mg/L）","标准要求","水样采集地点","耗氧量（CODMn法，以O2计，mg/L）","标准要求","菌落总数（CFU/mL）","标准要求","总大肠菌群（MPN/100mL或CFU/100mL）","标准要求"]
["沙金那仁宝力格侍明忠","哈腾苏木供水站","末梢水","是","5","≤15","1.12","≤3","无","无异臭、异味","无","无","8.3","6.5-8.5","178","≤450",480.62,"≤1000","沙金那仁宝力格侍明忠",155,"≤250",91,"≤250","0.50","≤1.2","＜0.0005","≤0.05","2.38","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","沙金那仁宝力格侍明忠","0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.008 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","＜0.0025","≤0.01","沙金那仁宝力格侍明忠","＜0.05","≤3","65","≤500","＜1","不得检出"]
["沙金哈业乌素郝文君","哈业乌素供水站","末梢水","是","5","≤15","1.07","≤3","无","无异臭、异味","无","无","8.2","6.5-8.5","154","≤450",516.42,"≤1000","沙金哈业乌素郝文君",193,"≤250",113,"≤250","0.69","≤1.2","＜0.0005","≤0.05","2.77","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","沙金哈业乌素郝文君","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.006 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","＜0.0025","≤0.01","沙金哈业乌素郝文君","0.33","≤3","43","≤500","＜1","不得检出"]
["沙金扎格乌素杨艾","扎格乌苏供水站","末梢水","是","5","≤15","1.11","≤3","无","无异臭、异味","无","无",8.4,"6.5-8.5","175","≤450",527.65,"≤1000","沙金扎格乌素杨艾",187,"≤250",109,"≤250","0.68","≤1.2","＜0.0005","≤0.05","2.62","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","沙金扎格乌素杨艾","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.006 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","0.0028","≤0.01","沙金扎格乌素杨艾","0.20","≤3","56","≤500","＜1","不得检出"]
["沙金蒙古新村张艾仁","蒙古新村供水站","末梢水","是","5","≤15","1.15","≤3","无","无异臭、异味","无","无",8.4,"6.5-8.5","187","≤450",551.96,"≤1000","沙金蒙古新村张艾仁",195,"≤250",113,"≤250","0.79","≤1.2","＜0.0005","≤0.05","2.66","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","沙金蒙古新村张艾仁","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.008 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","0.0030","≤0.01","沙金蒙古新村张艾仁","0.31","≤3","48","≤500","＜1","不得检出"]
["沙金沟心庙贾利","沟心庙供水站","末梢水","是","5","≤15","1.08","≤3","无","无异臭、异味","无","无",8.2,"6.5-8.5",137,"≤450",496.65,"≤1000","沙金沟心庙贾利",192,"≤250",111,"≤250","0.67","≤1.2","＜0.0005","≤0.05","2.74","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","沙金沟心庙贾利","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.007 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","0.0037","≤0.01","沙金沟心庙贾利","0.34","≤3","49","≤500","＜1","不得检出"]
["沙金阿茨高殿宫","阿茨供水站","末梢水","是","5","≤15","1.26","≤3","无","无异臭、异味","无","无",8.3,"6.5-8.5",138,"≤450",435.26,"≤1000","沙金阿茨高殿宫",145,"≤250",96,"≤250","0.64","≤1.2","＜0.0005","≤0.05","＜0.15","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","沙金阿茨高殿宫","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.006 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","＜0.0025","≤0.01","沙金阿茨高殿宫","0.21","≤3","56","≤500","＜1","不得检出"]
["沙金木雷滩王奇才","木雷滩供水站","末梢水","是","5","≤15","0.73","≤3","无","无异臭、异味","无","无",8.1,"6.5-8.5",138,"≤450",485.32,"≤1000","沙金木雷滩王奇才",175,"≤250",101,"≤250","0.60","≤1.2","＜0.0005","≤0.05","2.73","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","沙金木雷滩王奇才","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.007 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","＜0.0025","≤0.01","沙金木雷滩王奇才","0.36","≤3","18","≤500","＜1","不得检出"]
["乌兰布和农场场部办公楼","乌兰布和农场场部供水站","末梢水","是","5","≤15","0.84","≤3","无","无异臭、异味","无","无",8.3,"6.5-8.5",140,"≤450",501.23,"≤1000","乌兰布和农场场部办公楼",176,"≤250",105,"≤250","0.69","≤1.2","＜0.0005","≤0.05","2.49","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","乌兰布和农场场部办公楼","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.007 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","＜0.0025","≤0.01","乌兰布和农场场部办公楼","0.19","≤3","36","≤500","＜1","不得检出"]
["乌兰布和农场七分场陈建平","乌兰布和农场七分场供水站","末梢水","是","5","≤15","0.68","≤3","无","无异臭、异味","无","无",8.1,"6.5-8.5","165","≤450",475.23,"≤1000","乌兰布和农场七分场陈建平",152,"≤250",101,"≤250","0.62","≤1.2","＜0.0005","≤0.05","＜0.15","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","乌兰布和农场七分场陈建平","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.007 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","＜0.0025","≤0.01","乌兰布和农场七分场陈建平","0.22","≤3","28","≤500","＜1","不得检出"]
["巴彦套海农场学校","巴彦套海农场供水站","末梢水","是","5","≤15","0.92","≤3","无","无异臭、异味","无","无","8.4","6.5-8.5",168,"≤450",501.23,"≤1000","巴彦套海农场学校",156,"≤250","101","≤250","0.62","≤1.2","＜0.0005","≤0.05","＜0.15","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","巴彦套海农场学校","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.006 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","＜0.0025","≤0.01","巴彦套海农场学校","0.22","≤3",34,"≤500","＜1","不得检出"]
["哈腾套海农场三分场白喜","哈腾套海农场三分场供水站","末梢水","是","5","≤15","0.92","≤3","无","无异臭、异味","无","无","8.2","6.5-8.5","172","≤450",495.32,"≤1000","哈腾套海农场三分场白喜",154,"≤250",100,"≤250","0.70","≤1.2","＜0.0005","≤0.05","＜0.15","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","哈腾套海农场三分场白喜","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.007 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","＜0.0025","≤0.01","哈腾套海农场三分场白喜","0.29","≤3","26","≤500","＜1","不得检出"]
["哈腾套海农场七分场徐剑才","哈腾套海农场七分场供水站","末梢水","是","5","≤15","0.75","≤3","无","无异臭、异味","无","无",8.3,"6.5-8.5","185","≤450",542.36,"≤1000","哈腾套海农场七分场徐剑才",164,"≤250",107,"≤250","088","≤1.2","＜0.0005","≤0.05","＜0.15","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","哈腾套海农场七分场徐剑才","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.009 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","0.0034","≤0.01","哈腾套海农场七分场徐剑才","0.09","≤3","32","≤500","＜1","不得检出"]
["哈腾套海农场十分场胡开军","哈腾套海农场十分场供水站","末梢水","是","5","≤15","0.98","≤3","无","无异臭、异味","无","无",8.2,"6.5-8.5",138,"≤450",551.68,"≤1000","哈腾套海农场十分场胡开军",225,"≤250",132,"≤250","0.79","≤1.2","＜0.0005","≤0.05","3.102","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","哈腾套海农场十分场胡开军","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.008 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","0.0027","≤0.01","哈腾套海农场十分场胡开军","0.29","≤3","26","≤500","＜1","不得检出"]
["包尔盖农场一分场丁振军","包尔盖农场一分场供水站","末梢水","是","5","≤15","1.08","≤3","无","无异臭、异味","无","无",7.9,"6.5-8.5",138,"≤450",538.68,"≤1000","包尔盖农场一分场丁振军",210,"≤250",134,"≤250","0.91","≤1.2","＜0.0005","≤0.05","＜0.15","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","包尔盖农场一分场丁振军","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.008 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","＜0.0025","≤0.01","包尔盖农场一分场丁振军","＜0.05","≤3","30","≤500","＜1","不得检出"]
["包尔盖农场十分场宋方树","包尔盖农场十分场供水站","末梢水","是","5","≤15","0.93","≤3","无","无异臭、异味","无","无",8.2,"6.5-8.5",138,"≤450",495.62,"≤1000","包尔盖农场十分场宋方树",168,"≤250",111,"≤250","0.64","≤1.2","＜0.0005","≤0.05","＜0.15","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","包尔盖农场十分场宋方树","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.008 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","＜0.0025","≤0.01","包尔盖农场十分场宋方树","0.24","≤3","34","≤500","＜1","不得检出"]
["纳林套海农场场部郭宝元","纳林套海农场场部供水站 ","末梢水","是","5","≤15","0.88","≤3","无","无异臭、异味","无","无",8.3,"6.5-8.5",140,"≤450",563.26,"≤1000","纳林套海农场场部郭宝元",200,"≤250",131,"≤250","0.78","≤1.2","＜0.0005","≤0.05","＜0.15","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","纳林套海农场场部郭宝元","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.006 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","＜0.0025","≤0.01","纳林套海农场场部郭宝元","0.27","≤3","22","≤500","＜1","不得检出"]
["纳林套海农场三分场邱建军","纳林套海农场三分场供水站 ","末梢水","是","5","≤15","0.89","≤3","无","无异臭、异味","无","无",8.4,"6.5-8.5",138,"≤450",465.32,"≤1000","纳林套海农场三分场邱建军",149,"≤250",100,"≤250","0.60","≤1.2","＜0.0005","≤0.05","＜0.15","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","纳林套海农场三分场邱建军","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.006 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","＜0.0025","≤0.01","纳林套海农场三分场邱建军","0.33","≤3","32","≤500","＜1","不得检出"]
["隆盛合镇桃来村刘飞","隆盛合镇桃来供水站","末梢水","是","5","≤15","0.88","≤3","无","无异臭、异味","无","无",8.3,"6.5-8.5",140,"≤450",498.65,"≤1000","隆盛合镇桃来村刘飞",126,"≤250",85,"≤250","0.48","≤1.2","＜0.0005","≤0.05","＜0.15","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","隆盛合镇桃来村刘飞","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.007 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","0.0027","≤0.01","隆盛合镇桃来村刘飞","0.08","≤3","26","≤500","＜1","不得检出"]
["补隆坝楞新村王建军","补隆坝楞新村供水站","末梢水","是","5","≤15","0.97","≤3","无","无异臭、异味","无","无",8,"6.5-8.5",138,"≤450",682.36,"≤1000","补隆坝楞新村王建军",178,"≤250",282,"≤250","1.00","≤1.2","＜0.0005","≤0.05","＜0.15","≤20","＜0.0026","≤0.5","＜0.008","≤0.2","＜0.3","≤0.1","补隆坝楞新村王建军","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.005 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","＜0.004","≤0.05","＜0.0025","≤0.01","补隆坝楞新村王建军","0.11","≤3","36","≤500","＜1","不得检出"]

{"sheet":"Sheet1","index":1,"n_rows":35,"n_cols":59,"rows_kept":35,"merged":[[0,0,0,13],[0,14,0,27],[0,28,0,47],[0,49,0,58]]}
["2024年第1季度饮用水水质信息公示表"]
["水样采集地点","供水工程","水样\n类型","是否达标","色度（铂钴色度单位）","标准要求","浑浊度（NTU-散射浊度单位）","标准要求","嗅和味","标准要求","肉眼可见物","标准要求","pH","标准要求","总硬度(以CaCO3计，mg/L）","标准要求","水样采集地点","溶解性总固体（mg/L）","标准要求","硫酸盐（mg/L）","标准要求","氯化物（mg/L）","标准要求","氟化物（mg/L）","标准要求","氰化物（mg/L）","标准要求","硝酸盐氮（以N计，mg/L）","标准要求","氨氮（mg/L）","标准要求","水样采集地点","铝（mg/L）","标准要求","铁（mg/L）","标准要求","锰（mg/L）","标准要求","铜（mg/L）","标准要求","锌（mg/L）","标准要求","砷（mg/L）","标准要求","汞（mg/L）","标准要求","镉（mg/L）","标准要求","水样采集地点","铬（六价，mg/L）","标准要求","铅（mg/L）","标准要求","耗氧量（CODMn法，以O2计，mg/L）","标准要求","菌落总数（CFU/mL）","标准要求","总大肠菌群（MPN/100mL或CFU/100mL）","标准要求"]
["疾控中心","磴口县清泉自来水公司","末梢水","是","5","≤15","0.87","≤1","无","无异臭、异味","无","无",7.6,"6.5-8.5",216,"≤450","疾控中心",785.65,"≤1000",244,"≤250",153,"≤250","0.87","≤1.0","＜0.0005","≤0.05","＜0.15","≤10","＜0.0026","≤0.5","疾控中心","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.009 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","疾控中心","＜0.004","≤0.05","＜0.0025","≤0.01","0.43","≤3","18","≤100","＜1","不得检出"]
["水泵厂王建国家","磴口县清泉自来水公司","末梢水","是","5","≤15","0.98","≤1","无","无异臭、异味","无","无",7.6,"6.5-8.5",290,"≤450","水泵厂王建国家",698.68,"≤1000",172,"≤250",102,"≤250","0.60","≤1.0","＜0.0005","≤0.05","2.63","≤10","＜0.0026","≤0.5","水泵厂王建国家","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.003 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","水泵厂王建国家","＜0.004","≤0.05","0.0037","≤0.01","0.19","≤3","22","≤100","＜1","不得检出"]
["金穗二期门房","磴口县丰华供水公司","末梢水","是","5","≤15","0.68","≤1","无","无异臭、异味","无","无",7.9,"6.5-8.5",268,"≤450","金穗二期门房",825.25,"≤1000",211,"≤250",173,"≤250","0.95","≤1.0","＜0.0005","≤0.05","2.51","≤10","＜0.0026","≤0.5","金穗二期门房","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.003 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","金穗二期门房","＜0.004","≤0.05","0.0028","≤0.01","＜0.05","≤3","36","≤100","＜1","不得检出"]
["南粮台四社马生川","南粮台供水站","末梢水","是","5","≤15","0.68","≤3","无","无异臭、异味","无","无",8.2,"6.5-8.5",137,"≤450","巴镇南粮台4社马生川",523.65,"≤1000",190,"≤250",110,"≤250","0.68","≤1.2","＜0.0005","≤0.05","3.34","≤20","0.25","≤0.5","巴镇南粮台4社马生川","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.006 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","巴镇南粮台4社马生川","＜0.004","≤0.05","＜0.0025","≤0.01","0.16","≤3","41","≤500","＜1","不得检出"]
["巴镇永进七社王有生","巴镇永进七八社供水站","末梢水","是","5","≤15","1.02","≤3","无","无异臭、异味","无","无",8.4,"6.5-8.5",140,"≤450","巴镇永进七社王有生",568.46,"≤1000",199,"≤250",114,"≤250","0.74","≤1.2","＜0.0005","≤0.05","0.62","≤20","＜0.0026","≤0.5","巴镇永进七社王有生","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.001","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","巴镇永进七社王有生","＜0.004","≤0.05","＜0.0025","≤0.01","0.51","≤3","46","≤500","＜1","不得检出"]
["巴镇沙拉毛道马奇","沙拉毛道供水站","末梢水","是","5","≤15","1.09","≤3","无","无异臭、异味","无","无",8.3,"6.5-8.5",139,"≤450","巴镇沙拉毛道马奇",520.52,"≤1000",199,"≤250",115,"≤250","0.63","≤1.2","＜0.0005","≤0.05","3.32","≤20","＜0.0026","≤0.5","巴镇沙拉毛道马奇","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.007 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","巴镇沙拉毛道马奇","＜0.004","≤0.05","＜0.0025","≤0.01","0.18","≤3","34","≤500","＜1","不得检出"]
["渡口永胜村齐继文","渡口永胜供水站","末梢水","是","5","≤15","1.08","≤3","无","无异臭、异味","无","无",8.3,"6.5-8.5",139,"≤450","渡口永胜村齐继文",516.54,"≤1000",168,"≤250",99,"≤250","0.49","≤1.2","＜0.0005","≤0.05","2.81","≤20","＜0.0026","≤0.5","渡口永胜村齐继文","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.006 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","渡口永胜村齐继文","＜0.004","≤0.05","＜0.0025","≤0.01","0.22","≤3","51","≤500","＜1","不得检出"]
["渡口镇南尖子村陈明生","渡口镇南尖子供水站","末梢水","是","5","≤15","1.12","≤3","无","无异臭、异味","无","无",8.3,"6.5-8.5",138,"≤450","渡口镇南尖子村陈明生",489.62,"≤1000",170,"≤250",99,"≤250","0.62","≤1.2","＜0.0005","≤0.05","2.78","≤20","＜0.0026","≤0.5","渡口镇南尖子村陈明生","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.006 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","渡口镇南尖子村陈明生","＜0.004","≤0.05","＜0.0025","≤0.01","0.46","≤3",56,"≤500","＜1","不得检出"]
["补隆团结村李静","补隆-协成供水站","末梢水","是","5","≤15","1.02","≤3","无","无异臭、异味","无","无",8.4,"6.5-8.5",138,"≤450","补隆团结村李静",511.68,"≤1000",200,"≤250",117,"≤250","0.65","≤1.2","＜0.0005","≤0.05","3.04","≤20","＜0.0026","≤0.5","补隆团结村李静","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.006 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","补隆团结村李静","＜0.004","≤0.05","＜0.0025","≤0.01","0.29","≤3","58","≤500","＜1","不得检出"]
["补隆友谊村七社赵军","补隆友谊七社供水站","末梢水","是","5","≤15","1.09","≤3","无","无异臭、异味","无","无",8.4,"6.5-8.5",137,"≤450","补隆友谊村七社赵军",507.14,"≤1000",198,"≤250",116,"≤250","0.72","≤1.2","＜0.0005","≤0.05","6.05","≤20","＜0.0026","≤0.5","补隆友谊村七社赵军","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.008 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","补隆友谊村七社赵军","＜0.004","≤0.05","＜0.0025","≤0.01","0.16","≤3","47","≤500","＜1","不得检出"]
["隆盛合镇塔布村盛红喜","隆盛合镇供水站","末梢水","是","5","≤15","1.07","≤3","无","无异臭、异味","无","无","8.3","6.5-8.5",137,"≤450","隆盛合镇塔布村盛红喜",458.65,"≤1000",167,"≤250",98,"≤250","0.57","≤1.2","＜0.0005","≤0.05","<0.15","≤20","＜0.0026","≤0.5","隆盛合镇塔布村盛红喜","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.006 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","隆盛合镇塔布村盛红喜","＜0.004","≤0.05","0.0025","≤0.01","0.26","≤3","41","≤500","＜1","不得检出"]
["沙金前进3社李奇","巴音乌拉供水站","末梢水","是","5","≤15","0.81","≤3","无","无异臭、异味","无","无","7.4","6.5-8.5","176","≤450","沙金前进3社李奇",499.65,"≤1000",169,"≤250",98,"≤250","0.66","≤1.2","＜0.0005","≤0.05","<0.15","≤20","＜0.0026","≤0.5","沙金前进3社李奇","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.008 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","沙金前进3社李奇","＜0.004","≤0.05","0.0033","≤0.01","0.27","≤3","53","≤500","＜1","不得检出"]
["水样采集地点","供水工程","水样\n类型","是否达标","色度（铂钴色度单位）","标准要求","浑浊度（NTU-散射浊度单位）","标准要求","嗅和味","标准要求","肉眼可见物","标准要求","pH","标准要求","总硬度(以CaCO3计，mg/L）","标准要求","水样采集地点","溶解性总固体（mg/L）","标准要求","硫酸盐（mg/L）","标准要求","氯化物（mg/L）","标准要求","氟化物（mg/L）","标准要求","氰化物（mg/L）","标准要求","硝酸盐氮（以N计，mg/L）","标准要求","氨氮（mg/L）","标准要求","水样采集地点","铝（mg/L）","标准要求","铁（mg/L）","标准要求","锰（mg/L）","标准要求","铜（mg/L）","标准要求","锌（mg/L）","标准要求","砷（mg/L）","标准要求","汞（mg/L）","标准要求","镉（mg/L）","标准要求","水样采集地点","铬（六价，mg/L）","标准要求","铅（mg/L）","标准要求","耗氧量（CODMn法，以O2计，mg/L）","标准要求","菌落总数（CFU/mL）","标准要求","总大肠菌群（MPN/100mL或CFU/100mL）","标准要求"]
["沙金那仁宝力格侍明忠","哈腾苏木供水站","末梢水","是","5","≤15","1.12","≤3","无","无异臭、异味","无","无","8.3","6.5-8.5","178","≤450","沙金那仁宝力格侍明忠",480.62,"≤1000",155,"≤250",91,"≤250","0.50","≤1.2","＜0.0005","≤0.05","2.38","≤20","＜0.0026","≤0.5","沙金那仁宝力格侍明忠","＜0.008","≤0.2","＜0.3","≤0.1","0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.008 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","沙金那仁宝力格侍明忠","＜0.004","≤0.05","＜0.0025","≤0.01","＜0.05","≤3","65","≤500","＜1","不得检出"]
["沙金哈业乌素郝文君","哈业乌素供水站","末梢水","是","5","≤15","1.07","≤3","无","无异臭、异味","无","无","8.2","6.5-8.5","154","≤450","沙金哈业乌素郝文君",516.42,"≤1000",193,"≤250",113,"≤250","0.69","≤1.2","＜0.0005","≤0.05","2.77","≤20","＜0.0026","≤0.5","沙金哈业乌素郝文君","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.006 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","沙金哈业乌素郝文君","＜0.004","≤0.05","＜0.0025","≤0.01","0.33","≤3","43","≤500","＜1","不得检出"]
["沙金扎格乌素杨艾","扎格乌苏供水站","末梢水","是","5","≤15","1.11","≤3","无","无异臭、异味","无","无",8.4,"6.5-8.5","175","≤450","沙金扎格乌素杨艾",527.65,"≤1000",187,"≤250",109,"≤250","0.68","≤1.2","＜0.0005","≤0.05","2.62","≤20","＜0.0026","≤0.5","沙金扎格乌素杨艾","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.006 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","沙金扎格乌素杨艾","＜0.004","≤0.05","0.0028","≤0.01","0.20","≤3","56","≤500","＜1","不得检出"]
["沙金蒙古新村张艾仁","蒙古新村供水站","末梢水","是","5","≤15","1.15","≤3","无","无异臭、异味","无","无",8.4,"6.5-8.5","187","≤450","沙金蒙古新村张艾仁",551.96,"≤1000",195,"≤250",113,"≤250","0.79","≤1.2","＜0.0005","≤0.05","2.66","≤20","＜0.0026","≤0.5","沙金蒙古新村张艾仁","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.008 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","沙金蒙古新村张艾仁","＜0.004","≤0.05","0.0030","≤0.01","0.31","≤3","48","≤500","＜1","不得检出"]
["沙金沟心庙贾利","沟心庙供水站","末梢水","是","5","≤15","1.08","≤3","无","无异臭、异味","无","无",8.2,"6.5-8.5",137,"≤450","沙金沟心庙贾利",496.65,"≤1000",192,"≤250",111,"≤250","0.67","≤1.2","＜0.0005","≤0.05","2.74","≤20","＜0.0026","≤0.5","沙金沟心庙贾利","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.007 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","沙金沟心庙贾利","＜0.004","≤0.05","0.0037","≤0.01","0.34","≤3","49","≤500","＜1","不得检出"]
["沙金阿茨高殿宫","阿茨供水站","末梢水","是","5","≤15","1.26","≤3","无","无异臭、异味","无","无",8.3,"6.5-8.5",138,"≤450","沙金阿茨高殿宫",435.26,"≤1000",145,"≤250",96,"≤250","0.64","≤1.2","＜0.0005","≤0.05","＜0.15","≤20","＜0.0026","≤0.5","沙金阿茨高殿宫","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.006 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","沙金阿茨高殿宫","＜0.004","≤0.05","＜0.0025","≤0.01","0.21","≤3","56","≤500","＜1","不得检出"]
["沙金木雷滩王奇才","木雷滩供水站","末梢水","是","5","≤15","0.73","≤3","无","无异臭、异味","无","无",8.1,"6.5-8.5",138,"≤450","沙金木雷滩王奇才",485.32,"≤1000",175,"≤250",101,"≤250","0.60","≤1.2","＜0.0005","≤0.05","2.73","≤20","＜0.0026","≤0.5","沙金木雷滩王奇才","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.007 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","沙金木雷滩王奇才","＜0.004","≤0.05","＜0.0025","≤0.01","0.36","≤3","18","≤500","＜1","不得检出"]
["乌兰布和农场场部办公楼","乌兰布和农场场部供水站","末梢水","是","5","≤15","0.84","≤3","无","无异臭、异味","无","无",8.3,"6.5-8.5",140,"≤450","乌兰布和农场场部办公楼",501.23,"≤1000",176,"≤250",105,"≤250","0.69","≤1.2","＜0.0005","≤0.05","2.49","≤20","＜0.0026","≤0.5","乌兰布和农场场部办公楼","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.007 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","乌兰布和农场场部办公楼","＜0.004","≤0.05","＜0.0025","≤0.01","0.19","≤3","36","≤500","＜1","不得检出"]
["乌兰布和农场七分场陈建平","乌兰布和农场七分场供水站","末梢水","是","5","≤15","0.68","≤3","无","无异臭、异味","无","无",8.1,"6.5-8.5","165","≤450","乌兰布和农场七分场陈建平",475.23,"≤1000",152,"≤250",101,"≤250","0.62","≤1.2","＜0.0005","≤0.05","＜0.15","≤20","＜0.0026","≤0.5","乌兰布和农场七分场陈建平","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.007 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","乌兰布和农场七分场陈建平","＜0.004","≤0.05","＜0.0025","≤0.01","0.22","≤3","28","≤500","＜1","不得检出"]
["巴彦套海农场学校","巴彦套海农场供水站","末梢水","是","5","≤15","0.92","≤3","无","无异臭、异味","无","无","8.4","6.5-8.5",168,"≤450","巴彦套海农场学校",501.23,"≤1000",156,"≤250","101","≤250","0.62","≤1.2","＜0.0005","≤0.05","＜0.15","≤20","＜0.0026","≤0.5","巴彦套海农场学校","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.006 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","巴彦套海农场学校","＜0.004","≤0.05","＜0.0025","≤0.01","0.22","≤3",34,"≤500","＜1","不得检出"]
["哈腾套海农场三分场白喜","哈腾套海农场三分场供水站","末梢水","是","5","≤15","0.92","≤3","无","无异臭、异味","无","无","8.2","6.5-8.5","172","≤450","哈腾套海农场三分场白喜",495.32,"≤1000",154,"≤250",100,"≤250","0.70","≤1.2","＜0.0005","≤0.05","＜0.15","≤20","＜0.0026","≤0.5","哈腾套海农场三分场白喜","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.007 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","哈腾套海农场三分场白喜","＜0.004","≤0.05","＜0.0025","≤0.01","0.29","≤3","26","≤500","＜1","不得检出"]
["哈腾套海农场七分场徐剑才","哈腾套海农场七分场供水站","末梢水","是","5","≤15","0.75","≤3","无","无异臭、异味","无","无",8.3,"6.5-8.5","185","≤450","哈腾套海农场七分场徐剑才",542.36,"≤1000",164,"≤250",107,"≤250","0.88","≤1.2","＜0.0005","≤0.05","＜0.15","≤20","＜0.0026","≤0.5","哈腾套海农场七分场徐剑才","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.009 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","哈腾套海农场七分场徐剑才","＜0.004","≤0.05","0.0034","≤0.01","0.09","≤3","32","≤500","＜1","不得检出"]
["哈腾套海农场十分场胡开军","哈腾套海农场十分场供水站","末梢水","是","5","≤15","0.98","≤3","无","无异臭、异味","无","无",8.2,"6.5-8.5",138,"≤450","哈腾套海农场十分场胡开军",551.68,"≤1000",225,"≤250",132,"≤250","0.79","≤1.2","＜0.0005","≤0.05","3.10","≤20","＜0.0026","≤0.5","哈腾套海农场十分场胡开军","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.008 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","哈腾套海农场十分场胡开军","＜0.004","≤0.05","0.0027","≤0.01","0.29","≤3","26","≤500","＜1","不得检出"]
["水样采集地点","供水工程","水样\n类型","是否达标","色度（铂钴色度单位）","标准要求","浑浊度（NTU-散射浊度单位）","标准要求","嗅和味","标准要求","肉眼可见物","标准要求","pH","标准要求","总硬度(以CaCO3计，mg/L）","标准要求","水样采集地点","溶解性总固体（mg/L）","标准要求","硫酸盐（mg/L）","标准要求","氯化物（mg/L）","标准要求","氟化物（mg/L）","标准要求","氰化物（mg/L）","标准要求","硝酸盐氮（以N计，mg/L）","标准要求","氨氮（mg/L）","标准要求","水样采集地点","铝（mg/L）","标准要求","铁（mg/L）","标准要求","锰（mg/L）","标准要求","铜（mg/L）","标准要求","锌（mg/L）","标准要求","砷（mg/L）","标准要求","汞（mg/L）","标准要求","镉（mg/L）","标准要求","水样采集地点","铬（六价，mg/L）","标准要求","铅（mg/L）","标准要求","耗氧量（CODMn法，以O2计，mg/L）","标准要求","菌落总数（CFU/mL）","标准要求","总大肠菌群（MPN/100mL或CFU/100mL）","标准要求"]
["包尔盖农场一分场丁振军","包尔盖农场一分场供水站","末梢水","是","5","≤15","1.08","≤3","无","无异臭、异味","无","无",7.9,"6.5-8.5",138,"≤450","包尔盖农场一分场丁振军",538.68,"≤1000",210,"≤250",134,"≤250","0.91","≤1.2","＜0.0005","≤0.05","＜0.15","≤20","＜0.0026","≤0.5","包尔盖农场一分场丁振军","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.008 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","包尔盖农场一分场丁振军","＜0.004","≤0.05","＜0.0025","≤0.01","＜0.05","≤3","30","≤500","＜1","不得检出"]
["包尔盖农场十分场宋方树","包尔盖农场十分场供水站","末梢水","是","5","≤15","0.93","≤3","无","无异臭、异味","无","无",8.2,"6.5-8.5",138,"≤450","包尔盖农场十分场宋方树",495.62,"≤1000",168,"≤250",111,"≤250","0.64","≤1.2","＜0.0005","≤0.05","＜0.15","≤20","＜0.0026","≤0.5","包尔盖农场十分场宋方树","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.008 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","包尔盖农场十分场宋方树","＜0.004","≤0.05","＜0.0025","≤0.01","0.24","≤3","34","≤500","＜1","不得检出"]
["纳林套海农场场部郭宝元","纳林套海农场场部供水站 ","末梢水","是","5","≤15","0.88","≤3","无","无异臭、异味","无","无",8.3,"6.5-8.5",140,"≤450","纳林套海农场场部郭宝元",563.26,"≤1000",200,"≤250",131,"≤250","0.78","≤1.2","＜0.0005","≤0.05","＜0.15","≤20","＜0.0026","≤0.5","纳林套海农场场部郭宝元","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.006 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","纳林套海农场场部郭宝元","＜0.004","≤0.05","＜0.0025","≤0.01","0.27","≤3","22","≤500","＜1","不得检出"]
["纳林套海农场三分场邱建军","纳林套海农场三分场供水站 ","末梢水","是","5","≤15","0.89","≤3","无","无异臭、异味","无","无",8.4,"6.5-8.5",138,"≤450","纳林套海农场三分场邱建军",465.32,"≤1000",149,"≤250",100,"≤250","0.60","≤1.2","＜0.0005","≤0.05","＜0.15","≤20","＜0.0026","≤0.5","纳林套海农场三分场邱建军","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.006 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","纳林套海农场三分场邱建军","＜0.004","≤0.05","＜0.0025","≤0.01","0.33","≤3","32","≤500","＜1","不得检出"]
["隆盛合镇桃来村刘飞","隆盛合镇桃来供水站","末梢水","是","5","≤15","0.88","≤3","无","无异臭、异味","无","无",8.3,"6.5-8.5",140,"≤450","隆盛合镇桃来村刘飞",498.65,"≤1000",126,"≤250",85,"≤250","0.48","≤1.2","＜0.0005","≤0.05","＜0.15","≤20","＜0.0026","≤0.5","隆盛合镇桃来村刘飞","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.007 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","隆盛合镇桃来村刘飞","＜0.004","≤0.05","0.0027","≤0.01","0.08","≤3","26","≤500","＜1","不得检出"]
["补隆坝楞新村王建军","补隆坝楞新村供水站","末梢水","是","5","≤15","0.97","≤3","无","无异臭、异味","无","无","8.0","6.5-8.5",138,"≤450","补隆坝楞新村王建军",682.36,"≤1000",178,"≤250",282,"≤250","1.00","≤1.2","＜0.0005","≤0.05","＜0.15","≤20","＜0.0026","≤0.5","补隆坝楞新村王建军","＜0.008","≤0.2","＜0.3","≤0.1","＜0.1","≤1.0","＜0.2","≤0.3","＜0.05","≤1.0","0.005 ","≤0.01","＜0.0001","≤0.001","＜0.0005","≤0.005","补隆坝楞新村王建军","＜0.004","≤0.05","＜0.0025","≤0.01","0.11","≤3","36","≤500","＜1","不得检出"]

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Sheet2","index":3,"n_rows":0,"n_cols":0,"rows_kept":0}